Parameter request

| Descriptions | Requirements |
| --- | --- |
| Total volume(L) |  |
| Working volume(L) （about 30-70% of total volume） |  |
| Application |  |
| Bacteria/Mammalian cell/Virus/Fungi/Yeast/Plant cell etc. |  |
| Meet cGMP standard or not (vaccine) |  |
| Inside polishing precision |  |
| Standard:Ra 0.4~0.6 µm (GMP Ra 0.2-0.4µm) |  |
| Electropolished |  |
| Outside surface |  |
| Sandblasting |  |
| Mirror polishing |  |
| Mix speed (rpm) |  |
| Drive |  |
| Bottom drive |  |
| Top drive |  |
| Sealing system |  |
| Single mechanical seal |  |
| Double mechanical seal |  |
| Magnetic coupling |  |
| CIP（Clean in place） |  |
| SIP（Sterilization in place） |  |
| Gas |  |
| Air / N2/ O2/ CO2 |  |
| Gas control |  |
| Manual control by rotor meter |  |
| Auto control by mass flow meter |  |
| Measured and controlled parameters |  |
| pH/ DO /Foam/Temperature/ Pressure( standard included) |  |
| Turbidity sensor/Weight / Level/ Redox/ Conductivity /Biomass,optical density sensor/Exhaust gas analysis .etc (optional) |  |
| Documents |  |
| FAT documents/ SAT documents/ DQ /IQ /OQ |  |